## O & S
Operation and Setpoints
Site Code | Energy Demand | Start Date | End Date | Temperature set point | Days in the year
Glasgow | Heating | 2022-01-01 | 2025-12-31 | 70 | 365
Glasgow | Cooling | 2022-01-01 | 2025-12-31 | 30 | 365
Glasgow | Lighting | 2022-01-01 | 2025-12-31 |  | 365
Glasgow | Powering | 2022-01-01 | 2025-12-31 |  | 365